| Statutory Inspection | Frequency |
| --- | --- |
| Fire alarm testing | Quarterly and annually (as per schedule) |
| Emergency lighting | Quarterly and annually |
| Fire extinguisher maintenance | Annually |
| Sprinkler system | Quarterly |
| Fixed electrical installations testing | Five Yearly /as required |
| Wet area electrical e.g. swimming pools | Annually / as required |
| Portable electrical appliance testing (including electric kilns) | As required/two years |
| Lightning protection system | 11 monthly inspection |
| Gas systems(inc boilers/catering equip/kilns) | 6 monthly |
| Water Hygiene - monitoring | As per risk assessment |
| Water hygiene - risk assessment | Two yearly / as required |
| Intruder alarm and panic alarm tests | Six monthly and annually |
| Hazardous work equipment | As per manufacturer's instructions |
|  | Annually |
| General lifting equipment for lifting persons | Six monthly |
| General lifting equipment not for persons | Annually |
| Passenger lifts (maintenance and insurance) | 6 monthly minimum and annually |
| Stair lifts | 6 monthly |
| Non-passenger lifts | Annually |
| Access equipment - ladders, foot stools etc. | Annually |
| Access equipment - scaffold | As per scheme of examination |
| Powered doors testing & maintenance | Six monthly and annually |
| Powered gates testing & maintenance | As per manufacturer's instructions |
| Local exhaust ventilation (inc kitchen extraction) | Every fourteen months |
| Pressure systems | As per scheme of examination |
| Gas cylinders and welding equipment | Termly |
| Fall arrest systems | As per manufacturer's instructions |
| Fixed outdoor play equipment | Termly and annually |
| PE/gymnasium equipment | Annually |
| Kilns and furnaces | Annually |
| Swimming pools - water quality checks | At least quarterly (see PSOP) |
| Tree safety survey | 5 yearly |

External Contractor Statutory Inspections

Local In House Checks

| Check | Frequency |
| --- | --- |
| General premises inspection (workplace/site) | Termly |
| Fire risk assessment | Annually / as required |
| Fire & emergency action plans | Annually / as required |
| Review personal emergency evacuation plans (PEEP) | Annually / as required |
| Fire drills | Termly |
| Fire alarm testing | Weekly |
| Emergency lighting | Monthly |
| Fire extinguisher maintenance | Weekly |
| Fire doors and escape routes | Weekly |
| Sprinkler system | Daily / Weekly checks |
| Asbestos management - visual check LAMP review | 6 monthly (minimum) |
|  | Annually / as required |
| Water hygiene - flushing Water hygiene -temperature checks | As per risk assessment |
|  | Monthly |
| Intruder alarm maintenance & panic alarms test | Weekly |
| General work equipment | Termly |
| Local exhaust ventilation (inc kitchen extraction) | Termly (general maintenance/cleaning) |
| Fixed outdoor play equipment | Routine -weekly |
|  | Operational - termly |
| Gymnasium equipment (cleaning/maintenance) | Weekly and monthly |
| Kilns and furnaces | Termly |
| Swimming pools - backwash | At least weekly (see PSOP) |
| Pool water quality checks - in house | At least daily (see PSOP) |
| Tree Safety | Termly |
| General premises inspection (workplace/site) | Termly |
| Fire risk assessment | Annually / as required |
| Fire & emergency action plans | Annually / as required |
| Review personal emergency evacuation plans (PEEP) | Annually / as required |
| Fire drills | Termly |
| Fire alarm testing | Weekly |
| Emergency lighting | Monthly |
| Fire extinguisher maintenance | Weekly |
| Fire doors and escape routes | Weekly |