CHANGES TO FIRST AID KIT – BS8599

The new British Standard on first aid box contents came into force this year and needs to be implemented by the 31 December 2011.

This new standard has created a large amount of confusion for organisations.

Listed below is information produced by the HSE to say that the new BS8599 First Aid kit or another suitable First Aid kit can be used depending upon the outcome of the risk assessment.

You do not need to throw out your existing First Aid kit just add in more contents if required.

If you have any queries please contact the Occupational Health Unit on 024 7683 3285

BRITISH STANDARD 8599 – What size of First Aid Kit is Required

Employers are required to make a risk assessment to decide what hazard levels are and how many employees are involved in the area to be covered.  Below is a useful guide to help match this risk assessment to an appropriate kit size.

Where there are special circumstances, such as remoteness from emergency medical services, shiftwork or sites with several separate buildings there might need to be more First Aid kits than set out in the table below.

| Category of Hazard | Number of employees | Number and Size of First Aid Kits |
| --- | --- | --- |
| Low Hazard: Shops, Offices, Libraries etc | Less than 25 25 – 100 More than 100 | Small Size Kit Medium Size Kit 1 Large Size Kit (per 100 employees) |
| High Hazard: Light engineering and Assembly work, Food Processing, Warehousing, Extensive Work with dangerous machinery or instruments, construction, chemical manufacture etc. | Less than 5 5 – 25 More than 25 | Small Size Kit Medium Size Kit 1 Large Size Kit (per 25 employees) |

BRITISH STANDARD 8599 – FIRST AID KIT SIZES AND CONTENTS

| Contents | Small | Medium | Large | Travel |
| --- | --- | --- | --- | --- |
| First Aid Guidance Leaflet | 1 | 1 | 1 | 1 |
| Contents List | 1 | 1 | 1 | 1 |
| Medium Dressing (12cm x 12cm) (Sterile) | 4 | 6 | 8 | 1 |
| Large Dressing (18cm x 18cm) (Sterile) | 1 | 2 | 2 | 1 |
| Triangular Bandage (Single use) (90cm x 127cm) | 2 | 3 | 4 | 1 |
| Safety Pins (Assorted) (minimum length 2.5cm) | 6 | 12 | 24 | 2 |
| Eye Pad Dressing with Bandage (Sterile) | 2 | 3 | 4 | 0 |
| Washproof Assorted Plasters | 40 | 60 | 100 | 10 |
| Moist Cleaning Wipes | 20 | 30 | 40 | 4 |
| Microporous Tape (2.5cm x 5m or 3m for Travel Kit) | 1 | 1 | 1 | 1 |
| Nitrile Gloves (1 pair) | 6 | 9 | 12 | 1 |
| Finger Dressing with Adhesive Fixing (3.5cm) | 2 | 3 | 4 | 0 |
| Mouth to Mouth Resuscitation Device with Valve | 1 | 1 | 2 | 1 |
| Foil Blanket (130cm x 210cm) | 1 | 2 | 3 | 1 |
| Eye Wash (250ml) | 0 | 0 | 0 | 1 |
| Burn Relief Dressing (10cm x 10cm) | 1 | 2 | 2 | 1 |
| Universal Shears (Suitable for cutting clothing) | 1 | 1 | 1 | 1 |
| Conforming Bandage (7.5cm x 4m) | 1 | 2 | 2 | 1 |

With regards to the Risk Assessment this may indicate that other first aid items are required, for example, eye wash if there is no running water and chemicals are in use that could be splashed in the face.